## Sklop 4 - podsklop 1
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN ZA SKLOP 4 - PODSKLOP 1
ZA VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA LÖWENSTEIN MEDICAL
ZŠ | Katal. Št. | Opis | Proizvajalec | EM | Količina | Cena na EM brez DDV | DDV (%) | Vrednost brez DDV
1. |  | Cena delovne ure servisnega tehnika |  | ura | 50 |  |  | 0 | 0
2. |  | Cena prihoda servisnega tehnika na lokacijo naročnika. V ceno so všteti potni stroški (kilometrina), dnevnica, stroški servisnega tehnika na poti ter drugi stroški |  | prihod | 20 |  |  | 0 | 0
|  | Rezervni deli | [6 empty] | 0
58. | 0217018bg | NO adapter for suction compl with hose connector | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
59. | 217011 | Flow sensor | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
60. | 217012 | Flow sensor connection cable | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
61. | 0217026-1 | Ekspiratorna valvula | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
62. | 217031 | Oxygen measuremnt cell | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
63. | 217752 | Rechargeable battery DC 12V | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
64. | 217546 | Leoni2 battery pack | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
65. | 80501 | Keypad Leoni plus | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
66. | 217754 | Cover fan | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
67. | 217753 | Backup battery | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
68. | 217999 | Kit for HFO module fixation | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
69. | 400906 | Wheel with kick pedal lock for Elisa600/800 trolley | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
70. | 0209316(-1) | Telescopic slides | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
71. | 0209316hul001mri | Telescopic slides Leon mri | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
72. | 208700 | Battery | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
73. | 208634 | Servomex Paramagnetic O2 sensor | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
74. | 208620 | AION 03, Multigas Analyzer Gas Sensor, Agent ID, replaced by AION PLATINUM | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
75. | 0208635 | Holder for water trap | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
76. | 0208635mri | Holder for water trap(Servomex) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
77. | 0209004 | Option panel Leon Plus with emergency flowmeter | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
78. | 0209004hul300 | switch for ext. Fresh gas outlet | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
79. | 0208750-1 new art. no.: 0208750v2hul200 | Valve bank power gas compl. mounted without board, Leon, Leon Plus | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
80. | 0208751-1 new art. no.: 0208751hul200 | Valve bank fresh gas compl. mounted without board, Leon Plus | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
81. | 0208751-2hul300 | Blender board Leon Plus | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
82. | 0209100hul200bagarm | Compact circuit system complete with APL valve, Flowsensor and bag-arm | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
83. | 209120 | Flowsensor | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
84. | 0209135hul200bg | Inspection glass insp./exp. compact circuit system cplt. with O-ring 32,70 x 1,30 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
85. | 0209130 (v1) | APL Valve (next generation) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
86. | 209353 | Dome for bellow Leon, Leon plus | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
87. | 151233e | Membrane for expiration valve | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
88. | 0209360hul004 | Absorber cpl | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
89. | 0209190hul002bg | Gas feed-in Docking Station assembly incl. tubing system | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
90. | 0209225bg | High pressure manometer assembly for N2O (dm=50mm, 0- 160 kPa x100) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
91. | 0209230bg | High pressure manometer assembly for O2 (dm=50mm, 0-315 kPa x100) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
92. | 208770 | Exhalation valve Leon, Leon plus, compl. mounted | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
93. | 0209663hul321 | NETDCU 9.2 modified (with resistor) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
94. | 0217041-1 | Rotary knob | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
95. | 208766 | M16-HL O 2 celica | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0 | 0
149. | 0209248 | 2/2 WAY VALVE NON CLOSE | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
150. | 0209246 | SAFETY RING HO-37,A2 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
151. | 0209760 | EXTERNAL FRESHGAS OUTPUT | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
152. | 0208630 | LOVILEC VODE LEON PLUS ODRASLI | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
153. | 0208766 | OXYGEN MEASUREMENT CELL LEON/LEON PLUS | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
154. | 0208631 | LOVILEC VODE LEON PLUS NEONATALNI | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
155. | 0209120 | FLOWSENSOR LEON PLUS COMPLET | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
165. | 900mr088 | HOLDER ARM FOR ELISA 600+800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
166. | 0400944 | Gasket sensoradapter for mixerblock Elisa 800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
167. | 0400906 | wheel with kick pedal lock for Elisa 600/800 troll | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
168. | de-495472 | star grip | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
169. | 0400075 | MEMBRANE DRIVE BLOCK INSPIRATION | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
170. | 0400069 | DISC DRIVE BLOCK INSPIRATION | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
171. | 0400837 | metal plate elisa 600, elisa 800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
172. | 0070103 | filter (5µm) for water separater Air | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
173. | CM-540318 | threaded bolt | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
174. | 0681900 | sensor adapter complete 1 valve tandem sensor | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
175. | 0690093 | connection cable double sensor adapter | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
176. | CE-121802 | Cable for the conection of the left and right ligh | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
177. | CM-540110 | Luminaire corner on the left | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
178. | BE-121160 | PCB left LEDs for light corners | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
179. | CM-540111 | Luminaire corner on the right | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
180. | BE-121159 | PCB right side LEDs for light corners | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
181. | CE-121811 | on / off switch cpl. | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
182. | 0020422 | x-ring 24,99x3,53mm | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
183. | 0400217 | Filter plate 26x3,1 for sonata and Elisa 60 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
184. | 0661506v01 | Pat. hose connection "flat" angle (22mm cone) whi | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
185. | 0661507 | Pat. hose connection "flat" angle (22mm cone) blu | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
186. | 0020416 | O-Ring ( 8 cm diameter x 1,0 cm wide) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
187. | 0020427 | O-Ring diameter 23x1,75 for elbow pat | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
188. | 0631801 | turbine filter cassette | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
189. | 0681700 | sensor int. na ex. Strani za Eliso800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
190. | 0681800 | sensor 2,5 in 7,5 mb | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
191. | 0662100 | sensor -10-100mb | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
192. | 0662300 | sensor 0-50mb | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
193. | 0661804 | 2/3 ventil, CP-551401 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
194. | 0661603 | 2/3 ventil, CP-551402 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
195. | 0661619 | proportional ventil Elisa600 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
196. | 0661900 | linear actuator expiration | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
197. | 0400819 | transcend micro SDHC card 4GB CL4 for Elisa 800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
198. | 0661207 | AC-DC-power supply 150W, 24V | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
199. | 0661121 | control board power supply plug | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
200. | 0661003 | handle left with 15mm cone | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
201. | 6600100 | Dozator kisika enojni direktni, 0-15l/min | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
202. | 0661004 | handle right without cone | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
203. | 0661610 | sealing coupling G1/8" AG NW 2,7 MS | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
204. | 0690100 | power supply cable elisa 600/800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
205. | 0209316 | PUSHOUT SL300,TR305 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
206. | 0060511 | LOCKING NUTS | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
207. | 0661602 | PRESSURE REGULATOR 0,2-8,0 BAR | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
208. | 0400917 | SENSOR ADAPTER COMPLETE 1 VALVE DUAL SENSOR 0-25MB | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
209. | 0400939 | DOUBLE SENSOR ADAPTER | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
210. | 0400936 | counter plate for knurled screw for elisa 600/800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
211. | 0661010 | LITHIUM-ION BATTERY ELISA 300-800 | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
212. | 0400891 | PEEP membrane (complete) | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
213. | 0400912 | CABLE FOR ULTRASONIC NEBULIZER | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
214. | 0661510bg | 0400890 PEEP MEMBRANE FOR EXPIRATION VALVE | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
215. | 0691520v01 | 0400884 EXPIRATION VALVE, COMPLETE | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
216. | 0691510v01 | 0400883 INSPIRATION VALVE ,COMPLETE | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
217. | 900mr290bg | INFUZIJSKO STOJALO 900MR290BG | LÖWENSTEIN MEDICAL | kos | 1 | 0 | 22 | 0
[5 empty] | Davčna osnova: |  |  | 0
[5 empty] | Znesek davka: |  |  | 0
[5 empty] | Za plačilo v EUR z DDV: |  |  | 0
Opomba:
• Količine, ki jih je naročnik navedel v obrazcu predračuna OBR-5, so okvirne in jih izračunal na osnovi servisnih storitev v letu 2020.
Žig in podpis ponudnika:

## Sklop 4 - podsklop 2
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN ZA SKLOP 4 - PODSKLOP 2
ZA REDNI LETNI PREGLED APARATOV PROIZVAJALCA LÖWENSTEIN MEDICAL
Št. | Proizvajalec | Naziv naprave | Serijska št. | Količina | Cena na EM brez DDV | DDV (%) | Vrednost brez DDV | Stolpec1
1 | LÖWENSTEIN MEDICAL | Leoni Mobil | 0217510HUL2100026 | 1 |  | 22 | 0 | 0
2 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06160196 | 1 |  | 22 | 0 | 0
3 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06184523 | 1 |  | 22 | 0 | 0
4 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06184524 | 1 |  | 22 | 0 | 0
5 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206171 | 1 |  | 22 | 0 | 0
6 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206172 | 1 |  | 22 | 0 | 0
7 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206175 | 1 |  | 22 | 0 | 0
8 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206181 | 1 |  | 22 | 0 | 0
9 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206183 | 1 |  | 22 | 0 | 0
10 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206186 | 1 |  | 22 | 0 | 0
11 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206187 | 1 |  | 22 | 0 | 0
12 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206188 | 1 |  | 22 | 0 | 0
13 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206191 | 1 |  | 22 | 0 | 0
14 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206195 | 1 |  | 22 | 0 | 0
15 | LÖWENSTEIN MEDICAL | ICU VENTILATOR ELISA 600 | 0400600HUL06206198 | 1 |  | 22 | 0 | 0
16 | LÖWENSTEIN MEDICAL | KOMPLET ICU VENTILATOR ELISA 800 | 0400810HUL08184105 | 1 |  | 22 | 0 | 0
17 | LÖWENSTEIN MEDICAL | KOMPLET ICU VENTILATOR ELISA 800 | 0400810HUL08184106 | 1 |  | 22 | 0 | 0
18 | LÖWENSTEIN MEDICAL | KOMPLET ICU VENTILATOR ELISA 800 | 0400810HUL08184107 | 1 |  | 22 | 0 | 0
19 | LÖWENSTEIN MEDICAL | KOMPLET ICU VENTILATOR ELISA 800 | 0400810HUL08184108 | 1 |  | 22 | 0 | 0
20 | LÖWENSTEIN MEDICAL | KOMPLET ICU VENTILATOR ELISA 800 | 0400810HUL08184109 | 1 |  | 22 | 0 | 0
21 | LÖWENSTEIN MEDICAL | Leon Plus | 0200010HUL21106017 | 1 |  | 22 | 0 | 0
22 | LÖWENSTEIN MEDICAL | Leoni Plus | 0217004HUL14400588 | 1 |  | 22 | 0 | 0
23 | LÖWENSTEIN MEDICAL | Leoni Plus | 0217004HUL17400775 | 1 |  | 22 | 0 | 0
24 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970425 | 1 |  | 22 | 0 | 0
25 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970604 | 1 |  | 22 | 0 | 0
26 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970605 | 1 |  | 22 | 0 | 0
27 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970606 | 1 |  | 22 | 0 | 0
28 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970607 | 1 |  | 22 | 0 | 0
29 | LÖWENSTEIN MEDICAL | Neonatalni ventilator Leoni | 0217004HUL99970608 | 1 |  | 22 | 0 | 0
|  |  |  | Davčna osnova: |  |  | 0
|  |  |  | Znesek davka: |  |  | 0
|  |  |  | Za plačilo v EUR z DDV: |  |  | 0
Opomba:
• Količine, ki jih je naročnik navedel v obrazcu predračuna OBR-5, so okvirne in jih izračunal na osnovi servisnih storitev v letu 2020.
Žig in podpis ponudnika:

## Sklop 4 - Rekapitulacija
PONUDNIK:
Številka ponudbe:
Datum:
REKAPITULACIJA ZA SKLOP 4
VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA LÖWENSTEIN MEDICAL
ZŠ | OPIS | Vrednost v EUR brez DDV
1. | Obrazec predračuna: Sklop 4 - podsklop 1 | 0
2. | Obrazec predračuna: Sklop 4 - podsklop 2 | 0
| Končna vrednost ponudbe v EUR brez DDV: | 0