## Sklop 1 - podskop 1
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN - PODSKLOP 1
ZA VZDRŽEVANJE MEDICINSKE OPREME PROIZVAJALCA HOLOGIC
ZŠ | Katal. Št. | Opis | Proizvajalec | EM | Količina | Cena na EM brez DDV | DDV (%) | Vrednost brez DDV
1. |  | Cena delovne ure servisnega tehnika |  | ura | 100 |  |  | 0 | 0
2. |  | Cena prihoda servisnega tehnika na lokacijo naročnika. V ceno so všteti potni stroški (kilometrina), dnevnica, stroški servisnega tehnika na poti ter drugi stroški |  | prihod | 30 |  |  | 0 | 0
|  | Rezervni deli | [6 empty] | 0
Rezervni deli za aparat Affirm Prane, S/N: APB1100374
3. | OSC-00065 | X- Ray tube | Hologic | kos | 1 | 0 | 22 | 0 | 0
4. | PCB-01100 | ASSY., PIVOT TUBE FLEX BD. | Hologic | kos | 1 | 0 | 22 | 0 | 0
5. | PCB-01032 | ASSY, SUPPORT ARM FLEX BD | Hologic | kos | 1 | 0 | 22 | 0 | 0
6. | PCB-01118 | ASSY.,SUPPORT ARM EXTENSION FLEX | Hologic | kos | 1 | 0 | 22 | 0 | 0
7. | PCB-01281 | Stage arm flex cable | Hologic | kos | 1 | 0 | 22 | 0 | 0
8. | ASY-06980 | HIGH VOLTAGE MULTIPLIER DRAWER ASSEMBLY | Hologic | kos | 1 | 0 | 22 | 0 | 0
9. | ASY-07006 | INVERTER DRAWER | Hologic | kos | 1 | 0 | 22 | 0 | 0
10. | RM-PRD-03756 | (RM) Image Detector | Hologic | kos | 1 | 0 | 22 | 0 | 0
11. | PCB-01016 | Filament protect board | Hologic | kos | 1 | 0 | 22 | 0 | 0
12. | PCB-01081 | Compression arm flex bd | Hologic | kos | 1 | 0 | 22 | 0 | 0
13. | PCB-01222 | ASSY., SUPPORT ARM INTERFACE BD. | Hologic | kos | 1 | 0 | 22 | 0 | 0
14. | PCB-01099 | ASSY., TUBE ARM FLEX BD | Hologic | kos | 1 | 0 | 22 | 0 | 0
15. | PCB-01350 | ASSY., ARRAY INTERCONNECT BD. FOR PCB-01581 | Hologic | kos | 1 | 0 | 22 | 0 | 0
16. | PCB-01581 | ASSY, TUBE ARM FLEX CABLE | Hologic | kos | 1 | 0 | 22 | 0 | 0
17. | CMP-01154 | COMPUTER | Hologic | kos | 1 | 0 | 22 | 0 | 0
18. | PWR-00246 | POWER SUPPL Y, UPS 120V 50/60HZ 700VA | Hologic | kos | 1 | 0 | 22 | 0 | 0
Rezervni deli za aparat Atec Saphire, S/N: 900284
19. | SR6050-01 | VALVE, CHECK, 1/4" TUBE | Hologic | kos | 1 | 0 | 22 | 0 | 0
20. | ASY-07109 | ATEC Console PM Kit | Hologic | kos | 1 | 0 | 22 | 0 | 0
21. | SR6418-01 | KIT, VACUUM PUMP/COMPRESSOR MOUNTING | Hologic | kos | 1 | 0 | 22 | 0 | 0
22. | SR6336-01 | PCB ASSY, ATEC CONSOLE, 240V | Hologic | kos | 1 | 0 | 22 | 0 | 0
23. | SR6401-02 | COMPRESSOR ASSEMBL Y, 240V | Hologic | kos | 1 | 0 | 22 | 0 | 0
24. | SR6402-02 | VACUUM PUMP ASSEMBLY, INTERNATIONAL | Hologic | kos | 1 | 0 | 22 | 0 | 0
25. | ASY-02017 | VACUUM SWITCH ASSEMBLY, 240V | Hologic | kos | 1 | 0 | 22 | 0 | 0
26. | SR6327-01 | PRESSURE SWITCH, ABSOLUTE, VACUUM LINE | Hologic | kos | 1 | 0 | 22 | 0 | 0
Rezervni deli za aparat Explorer, S/N: 91483
27. | PCB-01009 | PCB, COMCON PCI EXPRESS Xl | Hologic | kos | 1 | 0 | 22 | 0 | 0
28. | PCB-00940 | ASSY, C-ARM INTERFACE BOARD | Hologic | kos | 1 | 0 | 22 | 0 | 0
29. | ASY-08135 | PC, HP COMPAQ 6300 PRO MT PC W7 | Hologic | kos | 1 | 0 | 22 | 0 | 0
30. | ASY-07157 | DETECTOR, 64 CHANNEL, ASSEMBL Y | Hologic | kos | 1 | 0 | 22 | 0 | 0
31. | ASY-08797 | XRAY SOURCE, HF, 160 KV, 12 MA | Hologic | kos | 1 | 0 | 22 | 0 | 0
32. | 255-0031 | Belt 130 Teeth | Hologic | kos | 1 | 0 | 22 | 0 | 0
33. | 255-0030 | 12 PL 150T 1/BW OSP Belt | Hologic | kos | 1 | 0 | 22 | 0 | 0
34. | 250-0047 | Bearing | Hologic | kos | 1 | 0 | 22 | 0 | 0
35. | 030-1877 | BEARING COVER | Hologic | kos | 1 | 0 | 22 | 0 | 0
36. | 250-0045 | Drum inner bearing | Hologic | kos | 1 | 0 | 22 | 0 | 0
37. | 250-0046 | Drum outer bearing | Hologic | kos | 1 | 0 | 22 | 0 | 0
38. | 253-0036 | Linear guide | Hologic | kos | 1 | 0 | 22 | 0 | 0
Rezervni deli za aparat InSight II, S/N: 19-0515-06
39. | CMP-01332 | InSight-FD DISPLAY,LCD,HIGH BRIGHT COLOR, W /TOUCH | Hologic | kos | 1 | 0 | 22 | 0 | 0
40. | FAB-04128 | C-ARM LOCKING, KNOB | Hologic | kos | 1 | 0 | 22 | 0 | 0
41. | SCR-00775 | 2#1/4-28 X 1.25 FHS S.S. | Hologic | kos | 1 | 0 | 22 | 0 | 0
42. | ASY-04724 | C-arm rotating Plate (left) | Hologic | kos | 1 | 0 | 22 | 0 | 0
43. | PRD-03703 | Wireless Footswitch InSight | Hologic | kos | 1 | 0 | 22 | 0 | 0
44. | MME-00216 | CASTER, FRONT, INSIGHT CAB | Hologic | kos | 1 | 0 | 22 | 0 | 0
45. | MME-00217 | CASTER, REAR, INSIGHT CAB | Hologic | kos | 1 | 0 | 22 | 0 | 0
46. | ASY-08700 | ASSY, COMPUTER TOWER, INSIGHT FD, WIN7 | Hologic | kos | 1 | 0 | 22 | 0 | 0
47. | ASY-08273 | ASSY, X-RAY CONTROLLER ROHS | Hologic | kos | 1 | 0 | 22 | 0 | 0
48. | ASY-08028 | ASSY, POWER DISTRIBUTION ROHS | Hologic | kos | 1 | 0 | 22 | 0 | 0
49. | ASY-08070 | ASSY,FIELD SIZE SWITCHES | Hologic | kos | 1 | 0 | 22 | 0 | 0
50. | ASY-08362 | ASSY, AC PWR MODULE | Hologic | kos | 1 | 0 | 22 | 0
[5 empty] | Davčna osnova: |  |  | 0
[5 empty] | Znesek davka: |  |  | 0
[5 empty] | Za plačilo v EUR z DDV: |  |  | 0
Opomba:
• Količine, ki jih je naročnik navedel v obrazcu predračuna OBR-2, so okvirne in jih izračunal na osnovi servisnih storitev v letu 2020.
Žig in podpis ponudnika:

## Sklop 1 - podskop 2
PONUDNIK:
Številka ponudbe:
Datum:
PREDRAČUN ZA SKLOP 1 - PODSKLOP 2
ZA REDNI LETNI PREGLED APARATOV PROIZVAJALCA HOLOGIC
Št. | Proizvajalec | Naziv naprave | Serijska št. | Količina | Cena na EM brez DDV | DDV (%) | Vrednost brez DDV | Stolpec1
1 | Hologic | Sistem za debeloigelno biopsijo dojk Hologic Atec Saphire | 900284 | 1 |  | 22 | 0 | 0
2 | Hologic | Miza za vakuumsko podprto biopsijo dojk Hologic Afirm Prone | APB1100374 | 2 |  | 22 | 0 | 0
3 | Hologic | Aparat RTG Hologic Insight MINI C ARM | 19-0515-06 | 1 |  | 22 | 0 | 0
4 | Hologic | Denzitometer Hologic Explorer | 91483 | 2 |  | 22 | 0 | 0
|  |  |  | Davčna osnova: |  |  | 0
|  |  |  | Znesek davka: |  |  | 0
|  |  |  | Za plačilo v EUR z DDV: |  |  | 0
Opomba:
• Količine, ki jih je naročnik navedel v obrazcu predračuna OBR-2, so okvirne in jih izračunal na osnovi servisnih storitev v letu 2020.
Žig in podpis ponudnika: